


ROUTINE QUALITY CONTROL TESTS FOR FULL FIELD DIGITAL MAMMOGRAPHY SYSTEMS 

(NHSBSP Equipment Report 0702, Version 1, February 2007)
Examples of data recording forms 

The following examples may be of help when developing forms to record the results of the quality control tests.  They are based on those provided in the Lorad Selenia Quality Control Manual.

For recording figures and calculating SNR and CNR refer to the radiographic quality control forms (Excel spreadsheets) which accompany Guidance Notes on Equipment Evaluation (NHSBSP Equipment Report 0703, March 2007)
(still in press).
mAs and detector dose indicator check


[image: image1]Remarks

	Date
	Action
	Who/Signature

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


SNR (daily) and CNR (weekly)


[image: image2]
Remarks

	Date
	Action
	Who/Signature

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Daily artefact check


[image: image3]
Remarks

	Date
	Action

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


Mechanical safety and function checks (monthly)

	Month
	Date
	Initials
	Outcome (OK, or any faults found and action taken)

	Jan
	
	
	

	Feb
	
	
	

	Mar
	
	
	

	Apr
	
	
	

	May
	
	
	

	Jun
	
	
	

	Jul
	
	
	

	Aug
	
	
	

	Sep
	
	
	

	Oct
	
	
	

	Nov
	
	
	

	Dec
	
	
	


mAs





Detector dose indicator





Aim





Upper limit





Lower limit





Expected filter = 			Expected kV =





Filter & kV OK?  (





Day





Month





Year





Initials





Value





Value





Aim





Upper limit





Lower limit





SNR





Day





Month





Year





Initials





CNR





Value





Value





Aim





Upper limit





Lower limit





Aim





Upper limit





Lower limit





Free from artefacts?  (





Day





Month





Year





Initials








L:\NBCSP\Publications\Final copies\Breast\Equipment reports 2007\Examples of forms.doc

